## Start
Hazard Traceability Matrix & Risk Analysis
What this is
This template includes useful entries to document the outputs from your risk management activities. It will help you achieve conformity with clauses 4.2, 4.3, 4.4, 5, 6.1, 6.2, 6.3, 6.4 and 6.7 of the ISO 14971:2019. Sometimes this document is carelessly refered to as the risk analysis, however strictly speaking, risk analysis is a set of steps for identifying and assessing risk according to ISO 14971.
Why it is useful
You need to maintain records from your risk management activities and be able to demonstrate traceability all the way from hazards to the residual risk for that particular hazard. This is easily done using the table in the 'Hazard Traceability Matrix' tab.
In this template, instructions and/or explanations are included using blue italic texts such as these.

## Participation Records
Participation
Area/activity | Category | Date | Name | Name | Name | Notes
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Q rel to safety
Note on A4: Peters: Record who has done what throughout the process.

## Hazard Traceability Matrix
Hazard Traceability Matrix
| Risk analysis | [6 empty] | Risk eval. | Risk control
ID | Hazard | Reasonably forseeable sequence or combination of events | Hazardous Situation | Harm | Notes | Po | Severity | Acceptable? | Risk control options and rationale | Risk control measure | Risk control verification | Risk control verification records | Impl.? | R-Po | R-Severity | Residual risk | Has the risk been reduced AFAP? | Is the benefit greater than the residual risk? | Residual risk | Comment on residual risk / Benefit-risk analysis
Example risks for a device that comes in contact with the patient's skin without being invasive
0
Product: Project:
DocID: Rev:
Participants:
Issued by: Date:__________
Reviewed by: Date:__________ Sign:__________
Appr. by: Date:__________ Sign:__________

## Definitions
Severity
Rating | Definition | Value
Catastrophic | Results in death | 5
Critical | Results in permanent impairment or life-threatening injury | 4
Serious | Results in injury or impairment requiring professional medical intervention | 3
Minor | Results in temporary injury or impairment not requiring professional medical intervention | 2
Negligble | Inconvenience or temporary discomfort | 1
Poccurence (per use)
Definition | Probability | Value
Frequent | >= 1/ 1000 | 5
Probable | < 1/ 1000 | 4
Occasional | < 1/ 10 000 | 3
Remote | < 1/ 100 000 | 2
Improbable | < 1/ 1 000 000 | 1
The average number of uses per year is TBD.

## Risk Evaluation Matrix
Risk evaluation matrix
Severity
Probability | 1 | 2 | 3 | 4 | 5
1 | ACC | ACC | ACC | ACC* | ACC*
2 | ACC | ACC | ACC* | ACC* | N ACC
3 | ACC | ACC* | ACC* | N ACC | N ACC
4 | ACC* | ACC* | N ACC | N ACC | N ACC
5 | ACC* | N ACC | N ACC | N ACC | N ACC
Note on B2: Peters: This is only one example of risk evaluation matrix. Adopt to your organization's need.
Note on G5: Peters: This evaluation matrix uses conditional formatting, thus you only need to change the text to change colours. The origin of this matrix should come from the risk management plan.